## Sheet1
Standard of C-horison mineralsoil, same sample analysed 52 times
Kola Ecogeochemistry, regional data 1995 | [23 empty] | Kola Ecogeochemistry, regional data 1995 | [52 empty] | XRF-data, NGU lab., corrected for LOI
Chemical Laboratory, Geological Survey of Finland, INAA analysis from Activation laboratories, Ancaster, Canada, XRF, LOI, Ph, Cond, IC from NGU | [22 empty] | 274/95 | Norges Geologiske Undersøkelse | [5 empty] | Chemical Laboratory
Analytical remarks: 512U= Aqua regia, GAAS technique, 512H= aqua regia, FIMS technique, 512P= aqua regia, ICP-AES
NGU: XRF= LOI corrected values, IC: 4g soil to 80 ml water,
Order 54836 (GTK) + order 11463 (Activation lab Ltd.) + Order 27495 (XRF at NGU) | [23 empty] | Dissolution: 4 g. soil : 80 ml milli-q water. | [8 empty] | Calc: mg/kg= (ug/l)/50000 | Calc: mg/kg= (ug/l)/50
Values less than detection limit are replaced by 1/2 det. limit
Unit | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | umS/cm | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | % | mg/kg | g | mg/kg | % | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg |  | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | % | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg | mg/kg
Method | 512U | INAA | 512P | XRF | 512U | INAA | INAA | 512P | 512P | INAA | 512P | 512U | IC | INAA | 512P | INAA | XRF | 512U | INAA | IC | 512P | INAA | Con-meter | 512P | INAA | INAA | 512P | INAA | IC | Ioneselekt. elektr. mg F- / l | 512P | INAA | XRF | INAA | 512H | INAA | INAA | 512P | XRF | 512P | INAA | 512P |  | INAA |  | 512P | XRF | 512P | XRF | 512P | INAA | 512P | INAA | XRF | INAA | 512P | INAA | IC | IC | 512P | XRF | 512U | pH-meter | IC | INAA | 512P | 512U | INAA | 512P | INAA | 512U | INAA | 512P | XRF | INAA | INAA | IC | 512P | INAA | XRF | INAA | INAA | 512U | 512P | INAA | 512P | XRF | INAA | 512P | INAA | 512P | INAA | 512P | INAA
Det_limit | 0.001 | 5 | all> |  | 0.1 | 0.5 | 0.002 | 3 | all> | 50 | all> | 0.005 | 0.002 | 0.5 | all> | 10000 |  | all> | 3 | 0.002 | 0.5 (all>) | 1 |  | all> | 5 | 1 | 0.5 (all>) | 0.2 | 0.001 | 2e-06 | all> | 100 |  | 1 | 0.02 | 1 | 0.005 | 200 |  | all> | 0.5 | 0.7 (all>) |  | 0.05 | 0 | all> |  | all> |  | 0.2 | 1 | all> | 100 |  | 5 | 1 (all>) | 20 | 0.001 | 0.001 | all> |  | all> |  | 0.004 | 15 | 5 | 0.01 | 0.1 | 0.1 | 0.1 | 0.01 | 3 | all> |  | 0.1 | 100 | 0.002 | all> | 500 |  | 0.5 | 0.5 | 0.003 | 3 | 0.2 | all> |  | 0.5 | all> | 1 | all> | 0.2 | all> | 50
*Loc | Ag | Ag_INAA | Al | Al2O3 | As | As_INAA | Au_INAA | B | Ba | Ba_INAA | Be | Bi | Br' | Br_INAA | Ca | Ca_INAA | CaO | Cd | Ce_INAA | Cl' | Co | Co_INAA | Cond | Cr | Cr_INAA | Cs_INAA | Cu | Eu_INAA | F' | F_ionselect | Fe | Fe_INAA | Fe2O3 | Hf_INAA | Hg | Hg_INAA | Ir_INAA | K | K2O | La | La_INAA | Li | LOI | Lu_INAA | Mass_INAA | Mg | MgO | Mn | MnO | Mo | Mo_INAA | Na | Na_INAA | Na2O | Nd_INAA | Ni | Ni_INAA | NO2' | NO3' | P | P2O5 | Pb | pH | PO4''' | Rb | S | Sb | Sb_INAA | Sc | Sc_INAA | Se | Se_INAA | Si | SiO2 | Sm_INAA | Sn_INAA | SO4'' | Sr | Sr_INAA | Sum | Ta_INAA | Tb_INAA | Te | Th | Th_INAA | Ti | TiO2 | U_INAA | V | W_INAA | Y | Yb_INAA | Zn | Zn_INAA
15 | 0.008 | 2.5 | 4180 | 10.05 | 0.2 | 0.25 | 0.001 | 1.5 | 38 | 440 | 0.1 | 0.008 | 0.001 | 4.2 | 1730 | 5000 | 2.17 | 0.011 | 33 | 0.001 | 5.1 | 11 | 1.3 | 41.6 | 130 | 0.5 | 13.3 | 0.6 | 0.0005 | 1e-06 | 9530 | 25700 | 3.31 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.17 | 8.1 | 15 | 3.7 | 0.74 | 0.2 | 32.24 | 3140 | 1.57 | 141 | 0.05 | 0.1 | 5 | 90 | 30100 | 3.34 | 10 | 15.9 | 10 | 0.0005 | 0.0010184 | 390 | 0.08 | 0.8 | 6.3 | 0.002 | 32 | 8 | 0.013 | 0.05 | 1.4 | 11 | 0.024 | 1.5 | 100 | 76.39 | 2.3 | 50 | 0.0023972 | 7.1 | 250 | 99.31 | 0.25 | 0.25 | 0.008 | 4 | 3 | 491 | 0.43 | 0.25 | 20.4 | 0.5 | 3 | 1.4 | 9.7 | 87
30 | 0.007 | 2.5 | 4170 | 10.11 | 0.2 | 0.25 | 0.003 | 1.5 | 36.3 | 410 | 0.1 | 0.012 | 0.001 | 3.9 | 1840 | 30000 | 2.16 | 0.012 | 35 | 0.0020954 | 5.4 | 10 | 1.7 | 42.8 | 130 | 0.5 | 12.8 | 0.7 | 0.001105 | 1e-06 | 10100 | 25100 | 3.22 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 8.3 | 16 | 3.6 | 0.76 | 0.21 | 34.4 | 3170 | 1.6 | 120 | 0.05 | 0.1 | 0.5 | 100 | 30000 | 3.42 | 11 | 16 | 10 | 0.0005 | 0.0005 | 413 | 0.08 | 0.8 | 5.9 | 0.002 | 40 | 9 | 0.005 | 0.05 | 1.5 | 11 | 0.038 | 1.5 | 110 | 76.5 | 2.3 | 50 | 0.001 | 7.5 | 250 | 99.51 | 0.25 | 0.25 | 0.0015 | 4 | 3.1 | 515 | 0.42 | 0.25 | 22.7 | 0.5 | 3.3 | 1.4 | 9.4 | 25
45 | 0.006 | 2.5 | 3920 | 10.14 | 0.1 | 0.25 | 0.001 | 1.5 | 34.4 | 440 | 0.09 | 0.016 | 0.001 | 3.3 | 1620 | 20000 | 2.1 | 0.012 | 36 | 0.001 | 5.1 | 10 | 1.7 | 40.3 | 140 | 0.5 | 12.3 | 0.7 | 0.0005 | 1e-06 | 9030 | 26500 | 3.23 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.21 | 7.4 | 16 | 3.5 | 0.77 | 0.22 | 37.66 | 2970 | 1.56 | 116 | 0.05 | 0.1 | 0.5 | 80 | 30900 | 3.42 | 13 | 15 | 10 | 0.0005 | 0.0005 | 387 | 0.08 | 0.8 | 4.7 | 0.002 | 37 | 11 | 0.005 | 0.05 | 1.4 | 11 | 0.028 | 1.5 | 100 | 76.5 | 2.4 | 50 | 0.001 | 6.5 | 250 | 99.46 | 0.25 | 0.25 | 0.005 | 4 | 3.2 | 452 | 0.41 | 1.1 | 20.1 | 0.5 | 2.9 | 1.5 | 9.2 | 25
60 | 0.006 | 2.5 | 3560 | 10.03 | 0.2 | 0.25 | 0.004 | 1.5 | 32 | 450 | 0.09 | 0.008 | 0.001 | 3.9 | 1460 | 20000 | 2.19 | 0.011 | 36 | 0.001 | 5.4 | 12 | 1.9 | 41.5 | 130 | 0.5 | 11.7 | 0.7 | 0.0005 | 1e-06 | 9160 | 26400 | 3.29 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 7.2 | 16 | 3.2 | 0.74 | 0.21 | 34.26 | 2730 | 1.59 | 109 | 0.05 | 0.1 | 0.5 | 70 | 30800 | 3.38 | 12 | 14.4 | 73 | 0.0005 | 0.0013 | 399 | 0.08 | 0.8 | 5.9 | 0.002 | 37 | 8 | 0.005 | 0.05 | 1.2 | 11 | 0.027 | 1.5 | 90 | 76.32 | 2.4 | 50 | 0.001 | 5.5 | 250 | 99.28 | 0.25 | 0.25 | 0.0015 | 5 | 3.1 | 421 | 0.43 | 0.25 | 19.6 | 0.5 | 2.7 | 1.5 | 8.4 | 25
75 | 0.007 | 2.5 | 4200 | 9.96 | 0.1 | 0.25 | 0.001 | 1.5 | 36.1 | 350 | 0.1 | 0.016 | 0.001 | 0.25 | 1860 | 20000 | 2.19 | 0.01 | 31 | 0.001 | 6.6 | 9 | 2.2 | 46.2 | 120 | 0.5 | 13.1 | 0.6 | 0.001192 | 1e-06 | 10300 | 24300 | 3.28 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.18 | 8.9 | 15 | 3.8 | 0.73 | 0.25 | 33.14 | 3180 | 1.6 | 123 | 0.05 | 0.1 | 0.5 | 90 | 28000 | 3.38 | 16 | 15.9 | 10 | 0.0005 | 0.0005 | 434 | 0.08 | 0.8 | 5.7 | 0.002 | 31 | 8 | 0.005 | 0.05 | 1.5 | 10 | 0.057 | 1.5 | 100 | 76.21 | 1.9 | 50 | 0.001 | 7.9 | 250 | 99.1 | 1.6 | 0.25 | 0.011 | 4 | 2.9 | 526 | 0.43 | 2 | 22.9 | 0.5 | 3.2 | 1.4 | 10 | 25
90 | 0.007 | 2.5 | 4020 | 10.26 | 0.4 | 0.25 | 0.001 | 1.5 | 34.8 | 410 | 0.1 | 0.011 | 0.001 | 0.25 | 1680 | 30000 | 2.14 | 0.011 | 33 | 0.001 | 7.8 | 10 | 1.8 | 43 | 110 | 0.5 | 15.9 | 0.6 | 0.0005 | 1e-06 | 10100 | 24500 | 3.3 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.22 | 7.7 | 15 | 3.8 | 0.76 | 0.22 | 33.24 | 3120 | 1.58 | 121 | 0.05 | 0.1 | 0.5 | 80 | 28600 | 3.4 | 15 | 15.8 | 10 | 0.0005 | 0.0005 | 409 | 0.08 | 0.8 | 5.9 | 0.002 | 34 | 17 | 0.005 | 0.05 | 1.5 | 10 | 0.064 | 1.5 | 110 | 76.96 | 2.1 | 50 | 0.001 | 6.7 | 250 | 100.18 | 0.25 | 0.25 | 0.0015 | 5 | 2.4 | 478 | 0.43 | 1.4 | 22.3 | 0.5 | 3 | 1.1 | 9.3 | 25
105 | 0.006 | 2.5 | 3950 | 10.16 | 0.05 | 0.25 | 0.005 | 1.5 | 33.6 | 360 | 0.1 | 0.014 | 0.001 | 3.2 | 1670 | 20000 | 2.22 | 0.01 | 32 | 0.0029354 | 5.2 | 10 | 1.8 | 41.8 | 120 | 0.5 | 12 | 0.7 | 0.0005 | 1e-06 | 9780 | 23600 | 3.41 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 8 | 16 | 3.8 | 0.73 | 0.2 | 35.14 | 3030 | 1.6 | 120 | 0.05 | 0.1 | 3 | 80 | 27600 | 3.42 | 11 | 15 | 10 | 0.0005 | 0.0005 | 401 | 0.08 | 0.8 | 5.9 | 0.002 | 28 | 12 | 0.005 | 0.05 | 1.4 | 10 | 0.018 | 1.5 | 90 | 76.08 | 2.1 | 50 | 0.001 | 6.9 | 250 | 99.39 | 0.25 | 0.25 | 0.005 | 4 | 2.6 | 493 | 0.44 | 1.5 | 21.7 | 0.5 | 3 | 1.2 | 9 | 25
120 | 0.007 | 2.5 | 3980 | 10.03 | 0.2 | 0.25 | 0.001 | 1.5 | 32.4 | 510 | 0.1 | 0.015 | 0.001 | 4 | 1870 | 5000 | 2.23 | 0.011 | 37 | 0.001 | 4.9 | 10 | 1.7 | 47.9 | 130 | 0.5 | 12.2 | 0.7 | 0.0005 | 1e-06 | 10000 | 25200 | 3.3 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.17 | 8.2 | 16 | 3.3 | 0.72 | 0.19 | 35.23 | 3050 | 1.61 | 123 | 0.05 | 0.1 | 0.5 | 100 | 29200 | 3.39 | 14 | 15.7 | 10 | 0.0005 | 0.0005 | 420 | 0.09 | 0.9 | 5.6 | 0.002 | 34 | 8 | 0.005 | 0.05 | 1.5 | 11 | 0.029 | 1.5 | 100 | 76.87 | 2.3 | 50 | 0.001 | 7.4 | 250 | 99.9 | 0.25 | 0.25 | 0.005 | 4 | 3 | 526 | 0.45 | 1.1 | 22.2 | 0.5 | 3.1 | 1.4 | 9.5 | 25
135 | 0.008 | 2.5 | 3850 | 10.01 | 0.3 | 0.25 | 0.001 | 1.5 | 35.4 | 370 | 0.1 | 0.01 | 0.001 | 0.25 | 1470 | 20000 | 2.18 | 0.011 | 32 | 0.001 | 5.2 | 10 | 1.9 | 43.9 | 120 | 0.5 | 12.1 | 0.5 | 0.0010598 | 1e-06 | 9570 | 24400 | 3.32 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.18 | 7.6 | 15 | 3.4 | 0.73 | 0.21 | 35.41 | 2980 | 1.59 | 112 | 0.05 | 0.1 | 0.5 | 80 | 28700 | 3.39 | 11 | 14.8 | 10 | 0.0005 | 0.0005 | 371 | 0.08 | 0.8 | 5.8 | 0.002 | 41 | 9 | 0.012 | 0.05 | 1.3 | 10 | 0.042 | 1.5 | 100 | 76.57 | 2.1 | 50 | 0.001 | 5.7 | 250 | 99.53 | 0.25 | 0.25 | 0.0015 | 3 | 3 | 463 | 0.43 | 1.1 | 20.3 | 0.5 | 2.6 | 1.2 | 9.3 | 25
150 | 0.007 | 2.5 | 3750 | 9.97 | 0.1 | 1.2 | 0.005 | 1.5 | 31.9 | 490 | 0.09 | 0.01 | 0.001 | 3.8 | 1640 | 20000 | 2.23 | 0.008 | 38 | 0.001 | 4.9 | 11 | 1.8 | 41.7 | 130 | 0.5 | 12.3 | 0.8 | 0.001399 | 1e-06 | 9470 | 27100 | 3.33 | 6 | 0.01 | 0.5 | 0.0025 | 800 | 1.18 | 7.5 | 16 | 3.1 | 0.73 | 0.26 | 35.93 | 2860 | 1.59 | 128 | 0.05 | 0.1 | 0.5 | 80 | 33000 | 3.4 | 13 | 14.7 | 10 | 0.0005 | 0.0005 | 392 | 0.08 | 0.7 | 5.6 | 0.002 | 7.5 | 9 | 0.018 | 0.05 | 1.3 | 12 | 0.025 | 1.5 | 100 | 75.11 | 2.3 | 50 | 0.001 | 6.5 | 250 | 98.12 | 0.25 | 0.25 | 0.005 | 3 | 2.7 | 467 | 0.44 | 2.2 | 20 | 0.5 | 2.8 | 1.8 | 8.3 | 25
165 | 0.009 | 2.5 | 4000 | 9.83 | 0.3 | 0.25 | 0.001 | 1.5 | 36.5 | 400 | 0.1 | 0.013 | 0.001 | 3.2 | 1490 | 20000 | 2.18 | 0.009 | 33 | 0.001 | 5.1 | 10 | 1.9 | 38.9 | 130 | 0.5 | 12.6 | 0.8 | 0.0005 | 1e-06 | 8750 | 25100 | 3.23 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.16 | 7.5 | 15 | 3.6 | 0.72 | 0.21 | 36.63 | 3140 | 1.57 | 122 | 0.05 | 0.1 | 0.5 | 70 | 29400 | 3.29 | 12 | 15.4 | 10 | 0.0005 | 0.0005 | 407 | 0.08 | 1.1 | 6.4 | 0.002 | 31 | 10 | 0.005 | 0.05 | 1.3 | 11 | 0.026 | 1.5 | 100 | 76.68 | 2.3 | 50 | 0.0030774 | 5.5 | 250 | 99.23 | 0.25 | 0.25 | 0.009 | 3 | 3 | 405 | 0.43 | 0.25 | 18.7 | 0.5 | 2.6 | 1.3 | 9.2 | 54
180 | 0.009 | 2.5 | 3840 | 10.14 | 0.3 | 0.25 | 0.001 | 1.5 | 34.5 | 400 | 0.09 | 0.008 | 0.001 | 0.25 | 1580 | 20000 | 2.32 | 0.009 | 34 | 0.004208 | 5 | 11 | 5.4 | 38 | 130 | 0.5 | 12.3 | 0.7 | 0.0005 | 1e-06 | 8370 | 25500 | 3.5 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 7.7 | 16 | 3.4 | 0.73 | 0.22 | 33.41 | 2980 | 1.67 | 117 | 0.05 | 0.1 | 0.5 | 80 | 30100 | 3.4 | 11 | 15 | 10 | 0.0005 | 0.0005 | 405 | 0.09 | 0.8 | 5.9 | 0.002 | 40 | 7 | 0.005 | 0.05 | 1.3 | 11 | 0.005 | 1.5 | 120 | 75.87 | 2.2 | 50 | 0.0041406 | 6.3 | 250 | 99.41 | 0.25 | 0.25 | 0.0015 | 3 | 2.9 | 416 | 0.47 | 1.2 | 18.2 | 0.5 | 2.7 | 1.5 | 8.6 | 25
195 | 0.008 | 2.5 | 4010 | 10.17 | 0.2 | 0.25 | 0.001 | 1.5 | 33.6 | 390 | 0.1 | 0.018 | 0.001 | 4 | 1700 | 20000 | 2.18 | 0.007 | 33 | 0.0045134 | 8.1 | 10 | 7 | 38.7 | 120 | 0.5 | 12.8 | 0.7 | 0.0010008 | 1e-06 | 9210 | 24900 | 3.33 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 8.2 | 15 | 3.8 | 0.74 | 0.18 | 38.15 | 3120 | 1.57 | 118 | 0.05 | 0.1 | 0.5 | 90 | 29900 | 3.41 | 10 | 16.6 | 10 | 0.0005 | 0.0005 | 401 | 0.09 | 0.6 | 5.9 | 0.002 | 30 | 24 | 0.005 | 0.05 | 1.4 | 11 | 0.078 | 1.5 | 90 | 76.2 | 2.3 | 50 | 0.0033956 | 6.6 | 250 | 99.35 | 0.5 | 0.25 | 0.007 | 4 | 2.8 | 455 | 0.43 | 0.25 | 19.2 | 0.5 | 3 | 1.3 | 9.1 | 25
210 | 0.007 | 2.5 | 3780 | 10.1 | 0.2 | 0.25 | 0.001 | 1.5 | 31.9 | 450 | 0.09 | 0.011 | 0.001 | 4.7 | 1640 | 20000 | 2.25 | 0.008 | 29 | 0.001 | 4.9 | 10 | 1.7 | 37.3 | 120 | 0.5 | 11.6 | 0.8 | 0.0005 | 1e-06 | 8400 | 26700 | 3.38 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 7.8 | 15 | 3.3 | 0.71 | 0.18 | 37.05 | 2910 | 1.61 | 113 | 0.05 | 0.1 | 0.5 | 90 | 27100 | 3.36 | 15 | 15 | 10 | 0.0005 | 0.0005 | 412 | 0.08 | 0.6 | 5.8 | 0.002 | 43 | 7 | 0.005 | 0.05 | 1.4 | 9 | 0.027 | 1.5 | 100 | 76.29 | 2.1 | 50 | 0.001 | 6.1 | 250 | 99.45 | 0.25 | 0.25 | 0.0015 | 3 | 3.1 | 413 | 0.44 | 0.25 | 18.4 | 0.5 | 2.8 | 1.4 | 8.4 | 25
225 | 0.006 | 2.5 | 3470 | 10.1 | 0.2 | 0.25 | 0.001 | 1.5 | 30.6 | 470 | 0.08 | 0.015 | 0.001 | 3.7 | 1400 | 30000 | 2.27 | 0.01 | 34 | 0.001 | 4.7 | 11 | 1.8 | 34.3 | 120 | 1 | 11.7 | 0.7 | 0.0005 | 1e-06 | 7870 | 25200 | 3.48 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 6.9 | 16 | 3.3 | 0.72 | 0.2 | 37.07 | 2750 | 1.63 | 108 | 0.05 | 0.1 | 5 | 60 | 27200 | 3.37 | 12 | 13.7 | 10 | 0.0005 | 0.0005 | 381 | 0.09 | 0.8 | 6 | 0.002 | 29 | 29 | 0.005 | 0.05 | 1.1 | 9.2 | 0.027 | 1.5 | 90 | 76.34 | 2 | 50 | 0.001 | 5.1 | 250 | 99.67 | 1 | 0.25 | 0.013 | 4 | 3 | 368 | 0.45 | 0.25 | 16.8 | 0.5 | 2.5 | 1.3 | 8.3 | 25
240 | 0.007 | 2.5 | 3990 | 10.23 | 0.2 | 0.25 | 0.001 | 1.5 | 33.6 | 470 | 0.09 | 0.009 | 0.001 | 0.25 | 1770 | 20000 | 2.27 | 0.009 | 30 | 0.001 | 5.3 | 10 | 1.8 | 40.6 | 120 | 0.5 | 12.2 | 0.7 | 0.0005 | 1e-06 | 9170 | 25600 | 3.44 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 7.4 | 14 | 3.6 | 0.7 | 0.19 | 36.34 | 3130 | 1.64 | 121 | 0.05 | 0.1 | 0.5 | 90 | 26400 | 3.45 | 12 | 16.1 | 10 | 0.0005 | 0.0005 | 413 | 0.09 | 0.7 | 6 | 0.002 | 29 | 7 | 0.005 | 0.05 | 1.4 | 8.8 | 0.027 | 1.5 | 100 | 76.77 | 1.9 | 50 | 0.001 | 7.1 | 250 | 100.28 | 0.25 | 0.25 | 0.011 | 4 | 3 | 455 | 0.45 | 1.3 | 19.6 | 0.5 | 3 | 1.3 | 9.3 | 25
255 | 0.007 | 2.5 | 4230 | 10.01 | 0.2 | 0.25 | 0.004 | 1.5 | 36.8 | 380 | 0.09 | 0.014 | 0.001 | 3.7 | 1760 | 20000 | 2.16 | 0.011 | 32 | 0.001 | 5.4 | 10 | 1.8 | 36.4 | 120 | 0.5 | 12 | 0.8 | 0.0005 | 1e-06 | 9160 | 25700 | 3.27 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 9 | 15 | 4.1 | 0.71 | 0.2 | 37.21 | 3280 | 1.56 | 125 | 0.05 | 0.1 | 0.5 | 90 | 27000 | 3.32 | 12 | 15.4 | 10 | 0.0005 | 0.0005 | 407 | 0.09 | 0.7 | 5.8 | 0.002 | 31 | 10 | 0.005 | 0.05 | 1.4 | 9.2 | 0.032 | 1.5 | 90 | 76.44 | 2 | 50 | 0.0023476 | 7.6 | 250 | 99.23 | 1 | 0.25 | 0.0015 | 4 | 2.9 | 459 | 0.43 | 1.3 | 19.2 | 0.5 | 3 | 1.4 | 10 | 75
270 | 0.008 | 2.5 | 4360 | 9.84 | 0.3 | 0.25 | 0.001 | 1.5 | 40.8 | 430 | 0.1 | 0.015 | 0.001 | 2.9 | 1520 | 5000 | 2.23 | 0.011 | 32 | 0.001 | 5.2 | 10 | 1.6 | 40.9 | 110 | 0.5 | 13.2 | 0.7 | 0.0005 | 1e-06 | 9320 | 24000 | 3.44 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.17 | 8.1 | 14 | 4.1 | 0.71 | 0.19 | 33.69 | 3430 | 1.62 | 120 | 0.05 | 0.1 | 0.5 | 80 | 25800 | 3.31 | 12 | 15.9 | 10 | 0.0005 | 0.0005 | 378 | 0.08 | 0.9 | 6 | 0.002 | 30 | 9 | 0.005 | 0.05 | 1.5 | 8.6 | 0.026 | 1.5 | 100 | 76.72 | 1.8 | 50 | 0.001 | 6.1 | 250 | 99.63 | 0.25 | 0.25 | 0.004 | 4 | 3 | 446 | 0.45 | 1.3 | 20.2 | 0.5 | 2.9 | 1.3 | 10 | 60
285 | 0.01 | 2.5 | 4420 | 10.03 | 0.2 | 0.25 | 0.001 | 1.5 | 34.2 | 490 | 0.1 | 0.021 | 0.001 | 3.3 | 1870 | 10000 | 2.18 | 0.011 | 31 | 0.001 | 5.5 | 11 | 1.6 | 40.5 | 130 | 0.5 | 13.3 | 0.7 | 0.0005 | 1e-06 | 9820 | 26400 | 3.3 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 8.1 | 16 | 4.1 | 0.73 | 0.22 | 37.48 | 3430 | 1.57 | 126 | 0.05 | 0.1 | 0.5 | 100 | 27600 | 3.52 | 13 | 16.1 | 10 | 0.0005 | 0.0005 | 412 | 0.09 | 0.8 | 5.9 | 0.002 | 35 | 12 | 0.005 | 0.05 | 1.6 | 9.6 | 0.016 | 1.5 | 120 | 76.79 | 2.1 | 50 | 0.001 | 7.5 | 250 | 99.87 | 0.8 | 0.25 | 0.007 | 4 | 3.3 | 511 | 0.43 | 0.25 | 23.1 | 0.5 | 3.1 | 1.4 | 9.8 | 71
300 | 0.007 | 2.5 | 3850 | 10.1 | 0.2 | 0.25 | 0.001 | 1.5 | 32.4 | 450 | 0.09 | 0.013 | 0.001 | 3.1 | 1720 | 10000 | 2.27 | 0.01 | 32 | 0.001 | 5 | 11 | 1.7 | 38 | 120 | 0.5 | 11.5 | 0.7 | 0.0005 | 1e-06 | 8770 | 26000 | 3.39 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 8.6 | 15 | 3.5 | 0.71 | 0.21 | 35.26 | 2970 | 1.62 | 117 | 0.05 | 0.1 | 6 | 90 | 27300 | 3.41 | 8 | 15.4 | 10 | 0.0005 | 0.0005 | 414 | 0.09 | 0.9 | 6.1 | 0.002 | 39 | 11 | 0.005 | 0.05 | 1.4 | 9.4 | 0.015 | 1.5 | 120 | 76.4 | 2.1 | 50 | 0.001 | 7 | 250 | 99.69 | 0.25 | 0.25 | 0.0015 | 4 | 3.1 | 437 | 0.46 | 0.25 | 18.7 | 0.5 | 3 | 1.3 | 8.8 | 25
315 | 0.008 | 2.5 | 4270 | 10.08 | 0.2 | 0.25 | 0.001 | 3 | 37 | 330 | 0.1 | 0.013 | 0.001 | 3.2 | 1900 | 10000 | 2.22 | 0.01 | 29 | 0.001 | 5.3 | 10 | 1.7 | 40.4 | 110 | 0.5 | 12.4 | 0.7 | 0.0005 | 1e-06 | 9400 | 24100 | 3.32 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 8.1 | 14 | 3.6 | 0.67 | 0.21 | 38.57 | 3240 | 1.59 | 124 | 0.05 | 0.1 | 0.5 | 100 | 25200 | 3.44 | 12 | 15.7 | 10 | 0.0005 | 0.0005 | 424 | 0.08 | 0.8 | 5.9 | 0.002 | 42 | 12 | 0.005 | 0.05 | 1.5 | 8.5 | 0.017 | 1.5 | 120 | 75.87 | 1.9 | 50 | 0.001 | 7.8 | 250 | 98.97 | 0.25 | 0.25 | 0.006 | 4 | 2.7 | 499 | 0.44 | 0.25 | 21 | 0.5 | 3.3 | 1.2 | 9.3 | 25
330 | 0.01 | 2.5 | 4290 | 9.89 | 0.3 | 0.25 | 0.001 | 1.5 | 39.9 | 410 | 0.09 | 0.009 | 0.001 | 2.8 | 1620 | 20000 | 2.16 | 0.011 | 29 | 0.001 | 5.5 | 9 | 1.9 | 36.2 | 110 | 0.5 | 13.5 | 0.7 | 0.0005 | 1e-06 | 9070 | 23600 | 3.25 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.17 | 8 | 14 | 4.1 | 0.75 | 0.18 | 34.72 | 3420 | 1.58 | 126 | 0.05 | 0.1 | 6 | 80 | 25500 | 3.32 | 11 | 15.5 | 66 | 0.0005 | 0.0005 | 423 | 0.08 | 0.8 | 5.8 | 0.002 | 27 | 10 | 0.005 | 0.05 | 1.4 | 8.4 | 0.014 | 1.5 | 100 | 76.85 | 1.9 | 50 | 0.001 | 6 | 250 | 99.53 | 0.25 | 0.25 | 0.007 | 4 | 2.6 | 432 | 0.42 | 0.25 | 19.6 | 0.5 | 2.9 | 1.2 | 10.3 | 25
345 | 0.006 | 2.5 | 4110 | 9.97 | 0.3 | 0.25 | 0.001 | 1.5 | 34.2 | 420 | 0.09 | 0.013 | 0.001 | 3.5 | 1890 | 20000 | 2.24 | 0.012 | 33 | 0.001 | 5.3 | 10 | 1.8 | 42.5 | 120 | 0.5 | 12.5 | 0.7 | 0.0005 | 1e-06 | 9460 | 27000 | 3.44 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.17 | 8.7 | 15 | 3.6 | 0.72 | 0.22 | 33.23 | 3190 | 1.61 | 131 | 0.05 | 0.1 | 6 | 90 | 28100 | 3.29 | 11 | 15.9 | 10 | 0.0005 | 0.0005 | 431 | 0.08 | 0.8 | 6.2 | 0.002 | 21 | 10 | 0.011 | 0.05 | 1.5 | 9.2 | 0.029 | 1.5 | 90 | 76.68 | 2.1 | 50 | 0.001 | 7.6 | 250 | 99.7 | 0.25 | 0.25 | 0.006 | 4 | 2.7 | 459 | 0.45 | 0.25 | 20.2 | 0.5 | 3.2 | 1.4 | 9.3 | 25
360 | 0.01 | 2.5 | 4120 | 10.01 | 0.4 | 1.8 | 0.004 | 1.5 | 33.2 | 480 | 0.09 | 0.017 | 0.001 | 3.9 | 1920 | 20000 | 2.21 | 0.013 | 32 | 0.001 | 5.6 | 11 | 1.8 | 41.8 | 120 | 0.5 | 13.1 | 0.8 | 0.0005 | 1e-06 | 9210 | 26400 | 3.32 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.17 | 8.1 | 15 | 3.8 | 0.81 | 0.22 | 34.9 | 3270 | 1.6 | 124 | 0.05 | 0.1 | 0.5 | 90 | 27400 | 3.32 | 10 | 16.5 | 87 | 0.0005 | 0.0005 | 450 | 0.08 | 0.8 | 6.2 | 0.002 | 26 | 14 | 0.005 | 0.05 | 1.4 | 9.2 | 0.026 | 1.5 | 100 | 76.77 | 2.1 | 50 | 0.001 | 7.6 | 250 | 99.79 | 1.1 | 0.25 | 0.006 | 4 | 3.3 | 467 | 0.44 | 0.25 | 19.7 | 0.5 | 3.2 | 1.3 | 9.4 | 25
375 | 0.008 | 2.5 | 4370 | 10.03 | 0.2 | 0.25 | 0.001 | 1.5 | 38.5 | 330 | 0.09 | 0.009 | 0.001 | 3.5 | 1810 | 5000 | 2.22 | 0.014 | 29 | 0.001 | 5.8 | 10 | 2.3 | 44.9 | 120 | 0.5 | 13.6 | 0.8 | 0.0005 | 1e-06 | 9640 | 24800 | 3.35 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.17 | 8.1 | 15 | 3.9 | 0.84 | 0.21 | 38.32 | 3460 | 1.61 | 126 | 0.05 | 0.1 | 0.5 | 80 | 26400 | 3.31 | 13 | 16.8 | 10 | 0.0005 | 0.0005 | 439 | 0.09 | 0.9 | 5.9 | 0.002 | 19 | 9 | 0.005 | 0.05 | 1.5 | 9.1 | 0.04 | 1.5 | 100 | 75.5 | 2 | 50 | 0.001 | 7.2 | 250 | 98.59 | 0.6 | 0.25 | 0.0015 | 4 | 3 | 472 | 0.44 | 1.1 | 21.1 | 0.5 | 3.1 | 1.4 | 11 | 25
390 | 0.006 | 2.5 | 3840 | 9.97 | 0.2 | 0.25 | 0.004 | 1.5 | 34.4 | 450 | 0.08 | 0.011 | 0.001 | 3.5 | 1580 | 20000 | 2.12 | 0.014 | 34 | 0.001 | 5.5 | 11 | 1.6 | 45 | 120 | 0.5 | 13.1 | 0.8 | 0.0005 | 1e-06 | 9840 | 26800 | 3.16 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 7.5 | 16 | 3.4 | 0.85 | 0.2 | 34.25 | 3050 | 1.56 | 154 | 0.05 | 0.1 | 7 | 70 | 28300 | 3.38 | 11 | 16.5 | 10 | 0.0005 | 0.0005 | 405 | 0.08 | 0.7 | 6.2 | 0.002 | 20 | 52 | 0.005 | 0.05 | 1.3 | 9.4 | 0.033 | 1.5 | 100 | 77.09 | 2.1 | 50 | 0.0027244 | 6 | 250 | 99.86 | 0.5 | 0.25 | 0.008 | 4 | 3.2 | 442 | 0.41 | 0.25 | 20.6 | 0.5 | 2.8 | 1.5 | 9 | 25
405 | 0.011 | 2.5 | 4340 | 9.96 | 0.2 | 0.25 | 0.001 | 1.5 | 36.8 | 480 | 0.09 | 0.012 | 0.001 | 3.7 | 1890 | 20000 | 2.25 | 0.013 | 32 | 0.001 | 5.5 | 10 | 1.6 | 43.6 | 120 | 0.5 | 12.9 | 0.7 | 0.0005 | 1e-06 | 10000 | 24900 | 3.38 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.18 | 8.5 | 16 | 3.9 | 0.76 | 0.18 | 30.79 | 3370 | 1.6 | 130 | 0.05 | 0.1 | 0.5 | 100 | 27900 | 3.51 | 12 | 15.6 | 10 | 0.0005 | 0.0005 | 417 | 0.09 | 0.9 | 6.1 | 0.002 | 36 | 13 | 0.005 | 0.05 | 1.5 | 8.9 | 0.015 | 1.5 | 100 | 76.05 | 2 | 50 | 0.0021536 | 7.8 | 250 | 99.27 | 0.25 | 0.25 | 0.0015 | 7 | 4.3 | 533 | 0.44 | 1.5 | 21.7 | 0.5 | 3.3 | 1.3 | 10 | 25
420 | 0.008 | 2.5 | 4260 | 10.18 | 0.2 | 0.25 | 0.001 | 1.5 | 35 | 530 | 0.09 | 0.014 | 0.001 | 3.1 | 2030 | 20000 | 2.07 | 0.013 | 33 | 0.001 | 5.5 | 11 | 1.6 | 45.6 | 130 | 0.5 | 13.1 | 0.9 | 0.0005 | 1e-06 | 10500 | 26800 | 3.12 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 8.9 | 15 | 3.5 | 0.72 | 0.18 | 35 | 3280 | 1.52 | 132 | 0.05 | 0.1 | 0.5 | 110 | 28300 | 3.46 | 10 | 16.6 | 10 | 0.0005 | 0.0005 | 436 | 0.08 | 0.9 | 6.1 | 0.002 | 25 | 14 | 0.005 | 0.05 | 1.5 | 9.4 | 0.025 | 1.5 | 90 | 76.91 | 2.2 | 50 | 0.001 | 8.5 | 250 | 99.69 | 0.25 | 0.25 | 0.006 | 5 | 3.3 | 534 | 0.4 | 0.25 | 22.2 | 0.5 | 3.4 | 1.2 | 9.5 | 111
435 | 0.006 | 2.5 | 3800 | 10.35 | 0.2 | 0.25 | 0.001 | 1.5 | 33.5 | 400 | 0.08 | 0.012 | 0.001 | 3.5 | 1600 | 20000 | 2.12 | 0.012 | 31 | 0.001 | 5.7 | 10 | 1.7 | 37.9 | 120 | 0.5 | 12.6 | 0.7 | 0.0005 | 1e-06 | 9050 | 25400 | 3.34 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.23 | 7.4 | 14 | 3.3 | 0.79 | 0.2 | 34.41 | 2960 | 1.56 | 114 | 0.05 | 0.1 | 0.5 | 80 | 27000 | 3.55 | 10 | 15.4 | 10 | 0.0005 | 0.0005 | 423 | 0.08 | 0.9 | 6 | 0.002 | 26 | 8 | 0.005 | 0.05 | 1.2 | 8.6 | 0.216 | 1.5 | 100 | 76.27 | 1.9 | 50 | 0.001 | 5.8 | 250 | 99.76 | 0.25 | 0.25 | 0.008 | 3 | 2.7 | 401 | 0.42 | 1 | 18.7 | 0.5 | 2.7 | 1.2 | 8.3 | 25
450 | 0.007 | 2.5 | 4450 | 10.15 | 0.2 | 0.25 | 0.001 | 1.5 | 37.1 | 510 | 0.1 | 0.015 | 0.001 | 2.9 | 1760 | 20000 | 2.16 | 0.013 | 31 | 0.001 | 5.7 | 10 | 1.7 | 42.9 | 110 | 0.5 | 14.2 | 0.7 | 0.00109 | 1e-06 | 10500 | 24700 | 3.26 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.22 | 8.1 | 14 | 3.8 | 0.79 | 0.2 | 33.71 | 3500 | 1.56 | 127 | 0.05 | 0.1 | 2 | 90 | 26700 | 3.41 | 9 | 17.1 | 10 | 0.0005 | 0.0005 | 411 | 0.08 | 0.8 | 7.4 | 0.002 | 19 | 38 | 0.005 | 0.05 | 1.6 | 8.7 | 0.043 | 1.5 | 110 | 76.28 | 1.9 | 50 | 0.001 | 6.9 | 250 | 99.39 | 0.25 | 0.25 | 0.0015 | 4 | 3 | 471 | 0.43 | 0.9 | 22 | 0.5 | 3.2 | 1.2 | 9.6 | 25
465 | 0.006 | 2.5 | 4380 | 10.04 | 0.4 | 0.25 | 0.001 | 1.5 | 35.5 | 400 | 0.09 | 0.016 | 0.001 | 3.3 | 2020 | 10000 | 2.07 | 0.011 | 25 | 0.001 | 5.9 | 9 | 1.9 | 43.3 | 99 | 0.5 | 12.6 | 0.6 | 0.0005 | 1e-06 | 10100 | 21400 | 3.15 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.21 | 8.3 | 13 | 3.7 | 0.87 | 0.18 | 35.65 | 3380 | 1.51 | 127 | 0.05 | 0.1 | 0.5 | 110 | 23700 | 3.51 | 9 | 16.9 | 10 | 0.0005 | 0.0005 | 447 | 0.08 | 0.7 | 6 | 0.002 | 33 | 11 | 0.005 | 0.05 | 1.6 | 7.8 | 0.033 | 1.5 | 110 | 76.29 | 1.6 | 50 | 0.001 | 8 | 250 | 99.17 | 0.25 | 0.25 | 0.004 | 4 | 2.2 | 509 | 0.39 | 1.2 | 22.1 | 0.5 | 3.3 | 1.1 | 9.3 | 58
480 | 0.005 | 2.5 | 3980 | 10.14 | 0.3 | 0.25 | 0.001 | 1.5 | 34 | 430 | 0.09 | 0.011 | 0.001 | 3.2 | 1810 | 20000 | 2.17 | 0.01 | 30 | 0.001 | 5.5 | 10 | 1.8 | 41.6 | 120 | 0.5 | 12.3 | 0.7 | 0.0005 | 1e-06 | 9230 | 24600 | 3.31 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.2 | 7.9 | 14 | 3.4 | 0.78 | 0.21 | 31.84 | 3070 | 1.6 | 122 | 0.05 | 0.1 | 0.5 | 90 | 26100 | 3.57 | 13 | 15.9 | 10 | 0.0005 | 0.0005 | 433 | 0.08 | 0.7 | 6.2 | 0.002 | 30 | 9 | 0.005 | 0.05 | 1.4 | 8.8 | 0.025 | 1.5 | 90 | 76.26 | 1.9 | 50 | 0.001 | 7.1 | 250 | 99.57 | 0.25 | 0.25 | 0.005 | 3 | 3 | 455 | 0.43 | 0.7 | 19.9 | 0.5 | 3 | 1.3 | 8.5 | 25
495 | 0.007 | 2.5 | 3940 | 10.16 | 0.2 | 0.25 | 0.001 | 1.5 | 37.9 | 440 | 0.09 | 0.011 | 0.001 | 3.7 | 1570 | 20000 | 2.11 | 0.008 | 33 | 0.001 | 5.4 | 10 | 1.8 | 40.9 | 130 | 0.5 | 12.8 | 0.6 | 0.0005 | 1e-06 | 9410 | 24300 | 3.16 | 4 | 0.02 | 0.5 | 0.0025 | 1000 | 1.2 | 7.8 | 15 | 3.6 | 0.73 | 0.18 | 32.9 | 3080 | 1.54 | 124 | 0.05 | 0.1 | 0.5 | 80 | 30400 | 3.43 | 13 | 15.8 | 10 | 0.0005 | 0.0005 | 403 | 0.08 | 0.7 | 5.7 | 0.002 | 7.5 | 7 | 0.021 | 0.05 | 1.3 | 9.2 | 0.025 | 1.5 | 90 | 75.97 | 1.9 | 50 | 0.001 | 5.9 | 250 | 98.84 | 0.25 | 0.25 | 0.006 | 4 | 3.2 | 449 | 0.41 | 0.8 | 19.4 | 0.5 | 2.8 | 1.2 | 9 | 25
510 | 0.005 | 2.5 | 3930 | 11.15 | 0.1 | 0.25 | 0.001 | 1.5 | 34.9 | 380 | 0.09 | 0.008 | 0.001 | 3.8 | 1640 | 10000 | 2.12 | 0.008 | 31 | 0.001 | 4.9 | 11 | 1.7 | 42.2 | 130 | 0.5 | 11.7 | 0.7 | 0.0005 | 1e-06 | 9240 | 23800 | 3.16 | 5 | 0.02 | 0.5 | 0.0025 | 1000 | 1.22 | 8 | 15 | 3.5 | 0.78 | 0.18 | 31.19 | 3080 | 1.56 | 119 | 0.05 | 0.1 | 0.5 | 80 | 30300 | 3.42 | 11 | 15 | 10 | 0.0005 | 0.0005 | 402 | 0.08 | 0.7 | 5.9 | 0.002 | 7.5 | 11 | 0.005 | 0.05 | 1.4 | 9.5 | 0.025 | 1.5 | 110 | 76.34 | 2 | 50 | 0.001 | 6.8 | 250 | 100.29 | 0.25 | 0.25 | 0.0015 | 3 | 3.3 | 460 | 0.41 | 0.9 | 20.2 | 0.5 | 2.8 | 1.1 | 8.6 | 25
525 | 0.007 | 2.5 | 4420 | 10.07 | 0.1 | 0.25 | 0.001 | 1.5 | 41 | 360 | 0.09 | 0.01 | 0.001 | 3.2 | 1930 | 20000 | 2.16 | 0.012 | 29 | 0.001 | 5.6 | 12 | 1.8 | 44.6 | 120 | 0.5 | 12.8 | 0.6 | 0.0005 | 1e-06 | 9890 | 23600 | 3.31 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.19 | 8.5 | 15 | 3.8 | 0.73 | 0.15 | 33.32 | 3340 | 1.58 | 125 | 0.05 | 0.1 | 0.5 | 120 | 30900 | 3.52 | 8 | 16.4 | 10 | 0.0005 | 0.0005 | 411 | 0.08 | 0.8 | 5.9 | 0.002 | 24 | 15 | 0.005 | 0.05 | 1.5 | 9.4 | 0.02 | 1.5 | 80 | 77.41 | 2 | 50 | 0.001 | 7.8 | 250 | 100.5 | 1.4 | 0.25 | 0.004 | 4 | 3 | 525 | 0.42 | 0.25 | 21.9 | 0.5 | 3 | 1.3 | 9.4 | 25
540 | 0.007 | 2.5 | 4050 | 9.86 | 0.2 | 0.25 | 0.001 | 1.5 | 35.3 | 420 | 0.09 | 0.011 | 0.001 | 3.6 | 1700 | 10000 | 2.2 | 0.01 | 32 | 0.001 | 5.5 | 10 | 1.7 | 42.6 | 120 | 0.5 | 12.7 | 0.6 | 0.0005 | 1e-06 | 9710 | 22700 | 3.35 | 4 | 0.02 | 0.5 | 0.0025 | 900 | 1.16 | 8.3 | 14 | 3.6 | 0.71 | 0.18 | 31.28 | 3210 | 1.58 | 127 | 0.05 | 0.1 | 0.5 | 90 | 29500 | 3.39 | 10 | 16.1 | 10 | 0.0005 | 0.001329 | 421 | 0.08 | 0.8 | 6.2 | 0.002 | 7.5 | 13 | 0.005 | 0.05 | 1.4 | 9.1 | 0.044 | 1.5 | 80 | 77.12 | 1.9 | 50 | 0.0020556 | 6.7 | 250 | 99.93 | 0.25 | 0.25 | 0.006 | 4 | 3.3 | 460 | 0.44 | 1.2 | 20.8 | 0.5 | 2.9 | 1 | 8.8 | 25
555 | 0.007 | 2.5 | 4080 | 9.97 | 0.2 | 0.25 | 0.001 | 1.5 | 34.8 | 610 | 0.09 | 0.015 | 0.001 | 0.25 | 1800 | 20000 | 2.16 | 0.009 | 34 | 0.001 | 4.8 | 11 | 1.7 | 47.2 | 140 | 0.5 | 11.9 | 0.7 | 0.0005 | 1e-06 | 10100 | 25700 | 3.18 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.16 | 8.2 | 16 | 3.5 | 0.67 | 0.2 | 33.35 | 3130 | 1.59 | 121 | 0.05 | 0.1 | 0.5 | 90 | 29300 | 3.34 | 2.5 | 16.1 | 10 | 0.0005 | 0.0005 | 407 | 0.08 | 0.8 | 5.9 | 0.002 | 7.5 | 10 | 0.005 | 0.05 | 1.5 | 10 | 0.025 | 1.5 | 100 | 76.82 | 2.1 | 50 | 0.001 | 7.4 | 250 | 99.44 | 0.25 | 0.25 | 0.006 | 4 | 3.2 | 541 | 0.43 | 0.25 | 22.2 | 0.5 | 3.1 | 1.3 | 8.8 | 121
570 | 0.008 | 2.5 | 4010 | 10.17 | 0.2 | 0.25 | 0.004 | 1.5 | 33.1 | 490 | 0.09 | 0.015 | 0.001 | 3.2 | 1660 | 10000 | 2.17 | 0.009 | 31 | 0.001 | 5.2 | 9 | 1.7 | 49.5 | 130 | 0.5 | 12.7 | 0.4 | 0.0005 | 1e-06 | 9780 | 23300 | 3.27 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 8.3 | 14 | 3.6 | 0.78 | 0.16 | 34.24 | 3160 | 1.59 | 117 | 0.05 | 0.1 | 0.5 | 90 | 27100 | 3.39 | 9 | 15.8 | 10 | 0.0005 | 0.008 | 392 | 0.08 | 0.7 | 6.1 | 0.002 | 34 | 14 | 0.012 | 0.05 | 1.4 | 9.2 | 0.026 | 1.5 | 100 | 76.5 | 1.8 | 50 | 0.001 | 6.7 | 250 | 99.61 | 1.5 | 0.25 | 0.0015 | 4 | 2.6 | 485 | 0.42 | 1.7 | 20.5 | 0.5 | 2.9 | 1.2 | 8.6 | 25
585 | 0.008 | 2.5 | 4220 | 10.07 | 0.3 | 0.25 | 0.001 | 1.5 | 32.9 | 500 | 0.1 | 0.014 | 0.001 | 3.6 | 1910 | 30000 | 2.2 | 0.009 | 33 | 0.001 | 5.3 | 10 | 1.7 | 46.8 | 130 | 0.5 | 12.4 | 0.7 | 0.0005 | 1e-06 | 10500 | 24600 | 3.31 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 8.3 | 15 | 3.7 | 0.78 | 0.2 | 35.38 | 3310 | 1.59 | 126 | 0.05 | 0.1 | 0.5 | 100 | 29200 | 3.36 | 10 | 16.3 | 10 | 0.0005 | 0.0005 | 445 | 0.08 | 0.8 | 5.9 | 0.002 | 27 | 11 | 0.005 | 0.05 | 1.5 | 9.9 | 0.021 | 1.5 | 90 | 76.33 | 2 | 50 | 0.001 | 7.8 | 250 | 99.38 | 0.25 | 0.25 | 0.004 | 4 | 3.2 | 542 | 0.44 | 0.25 | 22.3 | 0.5 | 3.2 | 1.3 | 9.1 | 25
600 | 0.007 | 2.5 | 3570 | 9.94 | 0.2 | 0.25 | 0.001 | 1.5 | 31.9 | 460 | 0.08 | 0.014 | 0.001 | 3.4 | 1520 | 10000 | 2.1 | 0.011 | 30 | 0.001 | 5.1 | 10 | 1.6 | 39.8 | 120 | 0.5 | 11.4 | 0.6 | 0.0005 | 1e-06 | 9140 | 22900 | 3.22 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 7.1 | 14 | 3.3 | 0.82 | 0.19 | 34.99 | 2780 | 1.54 | 110 | 0.05 | 0.1 | 0.5 | 70 | 27900 | 3.34 | 10 | 14.3 | 10 | 0.0005 | 0.0005 | 423 | 0.08 | 0.6 | 5.7 | 0.002 | 24 | 11 | 0.005 | 0.2 | 1.2 | 9.2 | 0.021 | 1.5 | 100 | 75.95 | 1.9 | 50 | 0.001 | 5.5 | 250 | 98.63 | 0.8 | 0.25 | 0.0015 | 4 | 2.8 | 407 | 0.41 | 0.25 | 19.1 | 0.5 | 2.7 | 1.2 | 7.8 | 25
615 | 0.008 | 2.5 | 3830 | 10.36 | 0.2 | 0.25 | 0.001 | 1.5 | 32.7 | 360 | 0.09 | 0.016 | 0.001 | 3.9 | 1650 | 10000 | 2.31 | 0.01 | 34 | 0.001 | 6.1 | 11 | 1.8 | 42.1 | 130 | 1 | 11.9 | 0.6 | 0.0005 | 1e-06 | 9680 | 25000 | 3.55 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.21 | 7.4 | 15 | 3.4 | 0.72 | 0.2 | 32.04 | 2950 | 1.65 | 115 | 0.05 | 0.1 | 0.5 | 90 | 29000 | 3.47 | 10 | 15.1 | 10 | 0.0005 | 0.0005 | 397 | 0.09 | 0.8 | 6.3 | 0.002 | 29 | 20 | 0.005 | 0.05 | 1.4 | 9.9 | 0.034 | 1.5 | 110 | 78.07 | 2 | 50 | 0.001 | 6.6 | 250 | 101.93 | 0.25 | 0.25 | 0.0015 | 3 | 3.2 | 467 | 0.46 | 1.5 | 20.8 | 0.5 | 2.9 | 1.3 | 8.3 | 25
630 | 0.007 | 2.5 | 4080 | 10.12 | 0.2 | 0.25 | 0.004 | 1.5 | 34.5 | 450 | 0.09 | 0.013 | 0.001 | 3 | 1710 | 5000 | 2.15 | 0.01 | 30 | 0.001 | 5.3 | 10 | 1.7 | 44.6 | 120 | 0.5 | 13.1 | 0.8 | 0.0005 | 1e-06 | 9630 | 25200 | 3.23 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 7.9 | 15 | 3.6 | 0.77 | 0.21 | 34.01 | 3200 | 1.56 | 124 | 0.05 | 0.1 | 0.5 | 90 | 26800 | 3.4 | 10 | 16.2 | 140 | 0.0005 | 0.0005 | 393 | 0.08 | 0.8 | 5.9 | 0.002 | 56 | 9 | 0.005 | 0.05 | 1.4 | 9 | 0.042 | 1.5 | 100 | 75.77 | 2.1 | 50 | 0.0055 | 7 | 250 | 98.76 | 0.25 | 0.6 | 0.004 | 3 | 2.9 | 500 | 0.42 | 0.25 | 20.9 | 0.5 | 2.9 | 1.4 | 10.4 | 25
645 | 0.007 | 2.5 | 3370 | 10.41 | 0.2 | 0.25 | 0.006 | 1.5 | 28.9 | 430 | 0.08 | 0.011 | 0.001 | 3.3 | 1400 | 20000 | 2.24 | 0.01 | 28 | 0.001 | 5 | 11 | 1.6 | 37.2 | 120 | 0.5 | 10.7 | 0.7 | 0.0005 | 1e-06 | 8430 | 25700 | 3.39 | 4 | 0.01 | 0.5 | 0.0025 | 800 | 1.23 | 7.4 | 14 | 3.1 | 0.74 | 0.22 | 31.09 | 2660 | 1.64 | 103 | 0.05 | 0.1 | 0.5 | 70 | 26900 | 3.43 | 12 | 15 | 10 | 0.0005 | 0.0005 | 352 | 0.09 | 0.8 | 6.3 | 0.002 | 38 | 11 | 0.013 | 0.05 | 1.2 | 9 | 0.101 | 1.5 | 100 | 77.96 | 2 | 50 | 0.001 | 5.6 | 250 | 101.62 | 0.25 | 0.25 | 0.0015 | 4 | 2.9 | 400 | 0.45 | 0.25 | 17.5 | 0.5 | 2.5 | 1.1 | 7.4 | 25
660 | 0.009 | 2.5 | 3790 | 10.32 | 0.2 | 0.25 | 0.001 | 1.5 | 35.1 | 500 | 0.09 | 0.011 | 0.001 | 3.7 | 1540 | 20000 | 2.16 | 0.01 | 28 | 0.001 | 5.8 | 10 | 1.7 | 44.1 | 110 | 0.5 | 12.1 | 0.7 | 0.0005 | 1e-06 | 9750 | 24700 | 3.37 | 4 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 7.6 | 15 | 3.5 | 0.76 | 0.2 | 40.8 | 2920 | 1.59 | 113 | 0.05 | 0.1 | 0.5 | 70 | 26500 | 3.46 | 10 | 14.9 | 10 | 0.0005 | 0.0005 | 422 | 0.08 | 0.8 | 5.8 | 0.002 | 45 | 25 | 0.005 | 0.05 | 1.3 | 8.8 | 0.026 | 1.5 | 100 | 76.64 | 2 | 50 | 0.001 | 5.7 | 250 | 100.04 | 0.25 | 0.25 | 0.0015 | 4 | 3 | 449 | 0.42 | 1 | 20.4 | 0.5 | 2.7 | 1.3 | 8.5 | 25
675 | 0.007 | 2.5 | 3820 | 10.32 | 0.2 | 1.2 | 0.001 | 1.5 | 32.4 | 590 | 0.08 | 0.018 | 0.001 | 3.4 | 1780 | 20000 | 2.26 | 0.009 | 31 | 0.001 | 4.9 | 10 | 1.7 | 45.8 | 120 | 0.5 | 12 | 0.7 | 0.0005 | 1e-06 | 9770 | 24400 | 3.47 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.21 | 8.1 | 15 | 3.2 | 0.7 | 0.2 | 32.08 | 2890 | 1.66 | 119 | 0.05 | 0.1 | 0.5 | 90 | 26900 | 3.44 | 8 | 15.2 | 80 | 0.0005 | 0.0005 | 413 | 0.09 | 0.7 | 5.8 | 0.002 | 50 | 8 | 0.005 | 0.05 | 1.4 | 8.9 | 0.005 | 1.5 | 110 | 77.02 | 2.1 | 50 | 0.001 | 7.5 | 250 | 100.67 | 0.25 | 0.25 | 0.005 | 4 | 2.7 | 504 | 0.45 | 0.25 | 22 | 0.5 | 3.2 | 1.2 | 8.8 | 25
690 | 0.007 | 2.5 | 3950 | 9.96 | 0.3 | 0.25 | 0.001 | 1.5 | 33.1 | 450 | 0.09 | 0.016 | 0.001 | 3.5 | 1770 | 30000 | 2.14 | 0.009 | 28 | 0.001 | 7 | 9 | 1.9 | 45.3 | 110 | 0.5 | 12.2 | 0.7 | 0.0005 | 1e-06 | 10200 | 23300 | 3.2 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 8 | 13 | 3.4 | 0.71 | 0.19 | 44.24 | 3100 | 1.57 | 124 | 0.05 | 0.1 | 0.5 | 90 | 24000 | 3.39 | 11 | 15.7 | 10 | 0.0005 | 0.0005 | 416 | 0.08 | 0.9 | 5.8 | 0.002 | 7.5 | 11 | 0.013 | 0.05 | 1.4 | 8 | 0.021 | 1.5 | 100 | 76.25 | 1.8 | 50 | 0.001 | 7.1 | 250 | 98.94 | 0.25 | 0.25 | 0.0015 | 4 | 3.2 | 502 | 0.42 | 0.25 | 20.7 | 0.5 | 3 | 1.1 | 8.8 | 25
705 | 0.006 | 2.5 | 3750 | 10.14 | 0.2 | 0.25 | 0.001 | 1.5 | 32.9 | 450 | 0.08 | 0.014 | 0.001 | 3.9 | 1440 | 5000 | 2.19 | 0.011 | 29 | 0.001 | 4.6 | 10 | 1.8 | 40 | 110 | 0.5 | 11.4 | 0.6 | 0.0005 | 1e-06 | 9170 | 22900 | 3.33 | 5 | 0.01 | 0.5 | 0.0025 | 1000 | 1.19 | 7.7 | 13 | 3.5 | 0.7 | 0.15 | 40.83 | 3000 | 1.57 | 112 | 0.05 | 0.1 | 0.5 | 80 | 24800 | 3.33 | 9 | 13.8 | 10 | 0.0005 | 0.0005 | 355 | 0.08 | 0.7 | 5.9 | 0.002 | 37 | 7 | 0.005 | 0.05 | 1.2 | 8.3 | 0.029 | 1.5 | 80 | 76.65 | 1.7 | 50 | 0.001 | 5.6 | 250 | 99.67 | 0.25 | 0.25 | 0.016 | 4 | 2.9 | 450 | 0.44 | 1.6 | 18.9 | 0.5 | 2.5 | 1.2 | 8.6 | 25
720 | 0.007 | 2.5 | 4300 | 10.26 | 0.3 | 0.25 | 0.001 | 1.5 | 36.6 | 380 | 0.1 | 0.019 | 0.001 | 3.1 | 1770 | 30000 | 2.15 | 0.011 | 33 | 0.001 | 5.8 | 10 | 1.8 | 45.5 | 110 | 0.5 | 13.4 | 0.8 | 0.0005 | 1e-06 | 10700 | 24700 | 3.38 | 4 | 0.01 | 0.5 | 0.0025 | 1100 | 1.22 | 8.1 | 14 | 3.9 | 0.83 | 0.15 | 39.15 | 3350 | 1.61 | 129 | 0.05 | 0.1 | 4 | 100 | 25700 | 3.41 | 11 | 16.4 | 10 | 0.0005 | 0.0005 | 394 | 0.08 | 0.8 | 6 | 0.002 | 7.5 | 16 | 0.005 | 0.05 | 1.5 | 8.8 | 0.034 | 1.5 | 100 | 75.85 | 1.9 | 50 | 0.001 | 6.7 | 250 | 99.28 | 0.25 | 0.25 | 0.009 | 5 | 2.8 | 542 | 0.43 | 0.25 | 22.5 | 0.5 | 3.1 | 1.2 | 10.3 | 84
735 | 0.011 | 2.5 | 4020 | 10.13 | 0.3 | 0.25 | 0.001 | 1.5 | 34.8 | 400 | 0.1 | 0.016 | 0.001 | 3.3 | 1760 | 20000 | 2.25 | 0.009 | 28 | 0.001 | 6 | 9 | 2 | 45.1 | 110 | 0.5 | 12.9 | 0.7 | 0.0005 | 1e-06 | 10300 | 24000 | 3.41 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 8.5 | 14 | 3.4 | 0.75 | 0.2 | 34.67 | 3100 | 1.64 | 125 | 0.05 | 0.1 | 0.5 | 90 | 25200 | 3.4 | 9 | 16.2 | 10 | 0.0005 | 0.0005 | 419 | 0.09 | 0.8 | 6 | 0.002 | 43 | 7 | 0.005 | 0.05 | 1.4 | 8.5 | 0.03 | 1.5 | 100 | 76.1 | 1.9 | 50 | 0.001 | 6.6 | 250 | 99.47 | 0.25 | 0.25 | 0.0015 | 4 | 2.9 | 498 | 0.46 | 0.25 | 22.6 | 0.5 | 3 | 1.1 | 8.8 | 25
750 | 0.01 | 2.5 | 4150 | 10.22 | 0.4 | 0.25 | 0.001 | 1.5 | 33.6 | 340 | 0.1 | 0.016 | 0.001 | 3.5 | 1880 | 20000 | 2.12 | 0.011 | 29 | 0.001 | 5.8 | 10 | 1.7 | 49.9 | 100 | 0.5 | 12.7 | 0.6 | 0.0005 | 1e-06 | 10500 | 22800 | 3.22 | 4 | 0.01 | 0.5 | 0.0025 | 900 | 1.19 | 8.5 | 13 | 3.5 | 0.71 | 0.18 | 34.04 | 3250 | 1.55 | 128 | 0.05 | 0.1 | 0.5 | 100 | 24100 | 3.42 | 9 | 16.9 | 10 | 0.0005 | 0.0005 | 429 | 0.08 | 0.5 | 6 | 0.002 | 27 | 10 | 0.013 | 0.05 | 1.5 | 8.3 | 0.037 | 1.5 | 90 | 76.8 | 1.8 | 50 | 0.001 | 7.4 | 250 | 99.79 | 0.25 | 0.25 | 0.003 | 4 | 3 | 525 | 0.41 | 0.9 | 22.6 | 0.5 | 3.3 | 1.2 | 8.9 | 25
765 | 0.008 | 2.5 | 3640 | 10.37 | 0.2 | 0.25 | 0.001 | 1.5 | 32.5 | 510 | 0.09 | 0.012 | 0.001 | 0.25 | 1530 | 5000 | 2.19 | 0.009 | 34 | 0.0032016 | 5.9 | 11 | 1.7 | 36.3 | 130 | 0.5 | 12.3 | 0.8 | 0.0005 | 1e-06 | 8380 | 26200 | 3.35 | 5 | 0.01 | 0.5 | 0.0025 | 900 | 1.21 | 7.2 | 16 | 3.2 | 0.76 | 0.19 | 37.18 | 2820 | 1.59 | 114 | 0.05 | 0.1 | 0.5 | 70 | 31100 | 3.47 | 17 | 14.9 | 10 | 0.0005 | 0.0005 | 426 | 0.08 | 0.8 | 5.9 | 0.002 | 44 | 10 | 0.005 | 0.05 | 1.2 | 11 | 0.024 | 1.5 | 100 | 76.98 | 2.4 | 50 | 0.001 | 5.5 | 250 | 100.5 | 0.25 | 0.25 | 0.0015 | 4 | 3.4 | 372 | 0.44 | 0.25 | 17.7 | 0.5 | 2.7 | 1.4 | 8.9 | 25
780 | 0.008 | 2.5 | 4130 | 10.1 | 0.2 | 0.25 | 0.002 | 1.5 | 34.9 | 550 | 0.1 | 0.019 | 0.001 | 4 | 1710 | 30000 | 2.22 | 0.011 | 37 | 0.001 | 5.4 | 11 | 1.7 | 39.4 | 130 | 0.5 | 14.1 | 0.9 | 0.0005 | 1e-06 | 9270 | 26500 | 3.47 | 6 | 0.01 | 0.5 | 0.0025 | 900 | 1.18 | 7.9 | 16 | 3.6 | 0.71 | 0.23 | 33.76 | 3220 | 1.62 | 125 | 0.05 | 0.1 | 0.5 | 80 | 31700 | 3.42 | 11 | 16.5 | 10 | 0.0005 | 0.0005 | 422 | 0.08 | 0.8 | 5.7 | 0.002 | 83 | 12 | 0.005 | 0.05 | 1.5 | 11 | 0.031 | 1.5 | 130 | 75.98 | 2.5 | 50 | 0.001 | 6.5 | 250 | 99.27 | 0.25 | 0.25 | 0.008 | 4 | 3.1 | 446 | 0.45 | 0.25 | 20.6 | 0.5 | 3 | 1.5 | 9.7 | 25
Stanard deviation | 0.001379 | 0 | 254.0225 | 0.2002 | 0.078272 | 0.27931 | 0.001356 | 0.20801 | 2.4249 | 62.3835 | 0.0066676 | 0.0031412 | 0 | 1.1806 | 158.1247 | 7507.5377 | 0.057201 | 0.0015776 | 2.6445 | 0.00076286 | 0.66627 | 0.71056 | 0.88967 | 3.5058 | 9.0468 | 0.097092 | 0.83774 | 0.090665 | 0.00021148 | 0 | 628.2839 | 1278.4013 | 0.09831 | 0.57702 | 0.0023544 | 0 | 0 | 75.182 | 0.017536 | 0.47779 | 0.90811 | 0.25581 | 0.043573 | 0.021818 | 2.6893 | 200.038 | 0.033225 | 8.3032 | 0 | 0 | 1.7946 | 11.8054 | 2100.5027 | 0.064366 | 2.2972 | 0.77524 | 24.9778 | 0 | 0.0010484 | 20.6958 | 0.0044789 | 0.096449 | 0.32379 | 0 | 13.7485 | 8.0705 | 0.0036751 | 0.020801 | 0.11547 | 0.97244 | 0.030379 | 0 | 10.3829 | 0.53444 | 0.19247 | 0 | 0.00091355 | 0.81923 | 0 | 0.65734 | 0.34758 | 0.048536 | 0.0034149 | 0.66902 | 0.30513 | 44.4244 | 0.016554 | 0.56606 | 1.5432 | 0 | 0.22953 | 0.14199 | 0.68859 | 22.9991
Mean | 0.0074808 | 2.5 | 4015.1923 | 10.1181 | 0.22404 | 0.31635 | 0.0016538 | 1.5288 | 34.6673 | 438.4615 | 0.092115 | 0.013231 | 0.001 | 3.074 | 1707.5 | 17596.1538 | 2.1871 | 0.010462 | 31.7885 | 0.0012299 | 5.5 | 10.25 | 1.9288 | 42.0942 | 121.1346 | 0.51923 | 12.5769 | 0.69615 | 0.00057397 | 1e-06 | 9527.5 | 24898.0769 | 3.3169 | 4.5192 | 0.010577 | 0.5 | 0.0025 | 955.7692 | 1.1894 | 7.9731 | 14.8654 | 3.575 | 0.74615 | 0.19846 | 35.0937 | 3117.5 | 1.5898 | 121.8654 | 0.05 | 0.1 | 1.2596 | 86.9231 | 27934.6154 | 3.4054 | 11.0481 | 15.6692 | 17.6154 | 0.0005 | 0.00068553 | 410.1346 | 0.082692 | 0.78269 | 5.9577 | 0.002 | 30.5481 | 12.75 | 0.0065577 | 0.052885 | 1.4 | 9.5154 | 0.034 | 1.5 | 100.1923 | 76.4873 | 2.0462 | 50 | 0.0013614 | 6.7558 | 250 | 99.6046 | 0.40481 | 0.25673 | 0.00475 | 3.9423 | 2.9942 | 469.1346 | 0.4325 | 0.73558 | 20.5135 | 0.5 | 2.9577 | 1.2942 | 9.1269 | 34.5385
Rel. st. dev. (%) | 18.4337 | 0 | 6.3265 | 1.9786 | 34.9369 | 88.2913 | 81.9879 | 13.6059 | 6.9949 | 14.2278 | 7.2383 | 23.7418 | 0 | 38.4049 | 9.2606 | 42.6658 | 2.6153 | 15.0796 | 8.3192 | 62.0275 | 12.1141 | 6.9323 | 46.1242 | 8.3285 | 7.4684 | 18.6992 | 6.6609 | 13.0238 | 36.8442 | 0 | 6.5944 | 5.1345 | 2.9639 | 12.7682 | 22.2594 | 0 | 0 | 7.8661 | 1.4743 | 5.9925 | 6.1089 | 7.1557 | 5.8397 | 10.9935 | 7.6632 | 6.4166 | 2.0899 | 6.8134 | 0 | 0 | 142.47 | 13.5814 | 7.5194 | 1.8901 | 20.7926 | 4.9475 | 141.7951 | 0 | 152.9333 | 5.0461 | 5.4163 | 12.3227 | 5.4349 | 0 | 45.0062 | 63.2977 | 56.0427 | 39.3333 | 8.2479 | 10.2197 | 89.3509 | 0 | 10.363 | 0.69873 | 9.4063 | 0 | 67.1047 | 12.1264 | 0 | 0.65995 | 85.8623 | 18.9055 | 71.8933 | 16.9702 | 10.1905 | 9.4694 | 3.8274 | 76.9547 | 7.523 | 0 | 7.7605 | 10.9713 | 7.5447 | 66.5899